IS BABY’s CRYING ?

PUT BABY ON MOTHER’S CHEST

BABY IS BORN AT ________AM/PM

(BIRTH TIMER STARTS & ALARM AT EVRY MINUTE)

NO

YES ?

NO

Apnea?

START VENTILATION and Apply Pulse Oximeter

YES

VENTILATION STARTED

Measure Heart Rate

HR>100 bpm?

SpO2>90?

VENTILATION STARTED TIMER STARTS & ALARMs AT EVERY 30 Seconds

NO

MEASURE HEART RATE

MEASURE SpO2

YES

HR>100 bpm

SpO2>90

YES

NO

END